## Introduction
Asbestos Survey Minimum Data Collection Requirements Built Environment Materials Information Register (BEMIR)
Version 1.6 February 2021
Purpose
The aim of this template and its supporting guidance material is to ensure that asbestos-related data being provided for inclusion in the Queensland Government's central asbestos register for government departments is complete and in the correct format. This is essential for maintaining the integrity of asbestos containing material (ACM) records for government buildings. IMPORTANT NOTE: This template and guidance material supports asbestos surveys (including sampling test results and details of disposed ACM) undertaken for buildings controlled by Queensland Government departments. It is intended for use by departments and their service providers and should be used in conjunction with the relevant contractual documentation for the survey, such as the 'Standard Technical Specification for Conducting Asbestos Survey and Bulk Sampling in Queensland Government Facilities'.
Background Information
At present the central asbestos register for government buildings is stored in the Built Environment Materials Information Register (BEMIR) system database, which is currently maintained by the Queensland Department of Housing and Public Works. BEMIR provides an asbestos register which complies with the requirements Queensland Work Health and Safety legislation (Regulation and Codes of Practice), as well as meeting some of the responsibilities of departments under the Queensland Government's Asbestos Management and Control Policy for Government Buildings (2011).
Asbestos Survey results
The results of asbestos surveys must be made available for entry into BEMIR as soon as practicable. Departments are to arrange for results from their asbestos survey service providers to be entered into BEMIR. Departments are responsible for ensuring the survey result data they provide for entry into BEMIR is complete and in a compatible format.
Asbestos Sampling and Analysis results
Samples from items may need to be taken and analysed as part of the survey (or from time-to-time) to confirm the presence or absence of asbestos. It is important that details of the sample (including an Analysis Result) which best represent the results of the sampling analysis, is 'linked' to the relevant ACM record for the item (through the "ACM Record Identifier" field). This is essential, as it provides a traceable relationship between the result of sample analysis and the "Status" of the item being tested. Other sample analysis results collected during sampling should be provided in a PDF format file so they can also be 'attached' in BEMIR to the sample record by the department.
ACM Disposal
The asbestos survey may discover that an item of ACM has been partially or totally disposed of previously, but the asbestos register has not been updated. In such cases, it is important that an ACM disposal record is created (based on information available) using the ACM Disposal Record Template. In addition, any existing ACM records impacted by the dicovery of disposed ACM should be modified using the ACM Record Data Template.
Using this guidance material
This guidance material contains: instructions, a standard template and some master pick lists, as well as some standard forms (each of which is identified by the different worksheet tabs names listed below).
Worksheet Tab Names | Description
Process flowchart | A flowchart describing the process for data collection and validation for departments and asbestos surveyors
Field Definitions | An explanation of each of the data fields required
ACM Record Data Template | The template for submitting data for validation and input into BEMIR
ACM Removal Record Template | The template for submitting ACM removal/disposal data for validation and input into BEMIR
Picklist Tables (various tabs) | Tables of names to be used when recording data during the survey and sampling process
Blank ACM Record Form | A printable hardcopy of a blank Asbestos Survey data collection form that can be used in the field for recording details of newly discovered ACM.
Blank ACM Sample Form | A printable hardcopy of a blank Asbestos Sample data collection form that can be used in the field for recording details of newly taken samples of suspected ACM.
Blank ACM Removal Record Form | A printable hardcopy of a blank ACM Removal/Disposal Record data collection form that can be used in the field for recording details of identified removed ACM.
Need assistance? Contact the departmental representative who is responsible for engaging or managing your asbestos survey service providers

## Process Flowchart
Asbestos Survey Minimum Data Collection Requirements Process Overview
The department ensures that all staff who need access to accurate ACM data are able to do so.
Asbestos Surveyor conducts survey and update/amends/adds ACM records using the
ACM Record Data Template
as well as the ACM Disposal Record Template (if required) for recording details of any ACM that has been partially or totally removed and subsequently disposed of.
The department reviews and validates information that has been provided by the Asbestos Surveyor
The department forwards the completed ACM Record Data Template, the ACM Disposal Record Template (if used), and any other supporting documentation to:
1. the BEMIR Team in QBuild for review and entry into BEMIR.
(*) depends on terms of Service Agreement with QBuild
Asbestos Surveyor forwards the now-populated ACM Record Data Template and any other supporting documentation including the completed ACM Disposal Record Template back to the department (if used)
Does the surveyor require hard copy or electronic copy
Electronic
Hard copy
The department procures the services of the Asbestos Surveyor
The department gathers previous ACM records, in electronic and/or hardcopy format.
Contractual documentation package should include:
1. existing ACM records
2. contract documents, including:
- Standard Technical Specification for Conducting Asbestos Survey and Bulk Sampling in Queensland Government Facilities
- Extent of Work
- General Conditions of Contract
The department nees to generate ACM records using the appropriate Excel Export file (from BEMIR)
It is important to note that data relating to any samples taken (such as location, date, result, name of laboratory, etc) MUST be 'linked' to a specific ACM Record (existing or new), using the ACM's record's 'identifier' as the common key.
(see Column V - BEMIR ACM Record Identifier on the ACM Record Data Template)
Also, facility and building names used when collecting data need to match building asset data records in the asbestos register in BEMIR.
The department ensures all ACM records information and data is provided to the Asbestos Surveyor, including instructions how to use/populate the
ACM Record Data Template
and the ACM Disposal Record Template

## Field Definitions
SURVEY FIELDS
FIELD NAME | BEMIR Field Name | Mandatory Field to be completed? | EXPLANATION | INSTRUCTIONS FOR POPULATING FIELDS IN "ACM RECORD DATA TEMPLATE"
Department Name | Department (Owner) | Y | Name of the controlling government department. | Enter the Name provided by the department
Facility Name | Facility Name | Y | Departmental name for the Facility. | Free text - use the Name provided by the department
Site Name | Site Name | Y | Departmental name for the Site. | Free text - use the Name provided by the department
Improvement Name | Improvement Description | Y | Departmental name of improvement (e.g. the building name). | Free text - use the Name provided by the department
Agency Asset Reference Number | Improvement Asset Reference | Y | Requesting Agency Identification Reference for Asset (e.g. SAP Functional Location Code, PR ID, WIC Number) | Free text - use the Number provided by the department
QBuild Asset Reference Number | Improvement Other Reference |  | Department of Housing and Public Works identification number for the improvement. | Free text - use the Number provided by the department
INTernal or EXTernal | Component INT/EXT | Y | Records whether the Item of suspected ACM is an internal or external part of the improvement. | Select from Pick List (either INT or EXT)
LOCATION TYPE | Component Location Type | Y | Records the type of location where the item of suspected ACM is present. | Select from Pick List (Column L_Location_Type) tab
SPECIFIC LOCATION | Component Specific Location | Y | Records the specific location of the suspected ACM - typically the name/number of the room or collection of rooms. | Free text - enter room number or name first, followed by a definitive location if required (e.g. northern side; SE corner). Do not repeat information recorded in other fields (e.g. floor/level; INT/EXT; Item). Typical examples include: Room 1; Storeroom; Main Corridor; Stairwell - western end. -
FLOOR / LEVEL | Component Floor/Level | Y | Records the floor number or building level of the building where the item of suspected ACM is located. or Identifies if the whole building has selected attributes. | Select from Pick List (Column J_Floor_Level) tab NOTE: if floor/level is not obvious, it may be shown on construction plans or fire evacuation plans, signage or the elevator. If unclear, the front entry level from the street to the Improvement is deemed to be the 'ground level' If an existing ACM record level needs to be modified, then all existing ACM record floor levels for that improvement will need to reflect the change.
ACM RECORD IDENTIFIER | ACM ID | Y | Records a unique identification number for an ACM Record in the BEMIR system. This number enables one or more samples (of an item of suspected ACM) to be 'linked' to a single ACM Record. | Free text - for existing ACM records use the identifier number provided by the department. NOTE: This is a system-generated number when data is originally entered into BEMIR. The ACM Record Identifier numbers can be accessed by departments when they generate existing ACM records data from BEMIR using the Excel Export report. For newly identified ACM an identifier will not exist and this field should be left 'blank'.
DESCRIPTION OF THE ACM | Description | Y | Records brief details which help to more clearly describe the particular item(s) of suspected ACM. | Free text - provide sufficient details to describe the item and enable it to be identified and located. NOTE: Do not repeat information recorded in other fields. Example responses: -Wall sheeting on north elevation -Vinyl tiles (blue) beneath carpet -Toilet cubicle partitions -Wall sheeting below windows (appears different from other windows). -Vinyl Sheet adhesive -Splashback sheeting above benches -Fume Cupboard internal baffle -Welding bench side panels -Unsealed lining on storage racks and shelving -Mushroom-shaped downpipes -Electrical pit adjacent front entry door -Underground steam line between boiler house and laundry
ITEM | Item | Y | Records the particular "item" suspected to contain asbestos. | Select from Pick List (Column O_ Item) tab
FORM | Form | Y | Records the physical "form" of the suspected ACM. | Select from Pick List (Column P_Form) tab
STATUS | Status | Y | Records whether the suspected ACM is (i) tested and actually does (or doesn't) contain asbestos; or (ii) is not tested and is assumed to contain (or not contain) asbestos | Select from Pick List (Column R_Status) tab
PHYSICAL STATE | Physical State | Y | Records a rating of the "physical state" of the suspected ACM, based on the level of its encapsulation; its condition; and its stability. | Select from Pick List (Column Q_Physical State) tab
LIKELIHOOD of DAMAGE? | Likelihood of ACM Damage | Y | Records the likelihood of the suspected ACM being badly damaged (i.e. disturbing the ACM) during normal day-to-day usage, before the next periodic inspection is due (typically every 1-3 years). | Select from Pick List (Column S_Likelihood of ACM) tab
ESTIMATED QUANTITY | Gross Floor Area | Y | Records an estimate of the total quantity of the suspected ACM - in appropriate units of measurement. | Free text - enter the 'amount' of the ACM in numerical form only. Note, no alphabetical characters or symbols are to be entered in this field
BEMIR SCORE | BEMIR SCORE | N | BEMIR Generated Number providing risk assessment of ACM based on material form, physical condition and likelihood of damage | Not required for survey
ACM Identification Date | ACM Identification Date | Y | The date that the suspected ACM was identified | Free text - enter the date (DD/MM/YYYY) that that the suspected ACM was identified.
ATTENTION RECOMMENDED? | Not generated by BEMIR | N | Records a 'flag' to indicate in the opinion of the surveyor some special attention and action may be required e.g. to reduce or avoid potential risk, before the next periodic inspection is due (typically every 1-3 years). | Use a "Y" or "N" flag for Yes or No. Although this flag is not a mandatory system field, it is encouraged that this is completed to minimise risks before the next inspection. Note: if YES, then an explanation must be provided in more detail under the field "Comments".
COMMENTS | Not generated by BEMIR | N | Records any additional useful information that may assist with identifying the suspected ACM; or to explain why the "Attention Recommended" flag has been selected plus details of possible shorter-term control measures and longer-term remedial actions, including priority removal. | Free text - provide succinct additional commentary (256 characters max.) such as recommendations or explanations. Typical examples of information that might be recorded are: "remnants in ceiling from prior AC roof sheeting removal" "fire barrier in ceiling is damaged and deteriorating badly" "vehicles damaging wall sheeting at entry to car park - recommended replace sheeting and install bollards"
LAST MODIFIED/ENTRY DATE | Last Modified/Entry Date | N | Provided to you with BEMIR data
Name of Surveyor | Surveyor | Y | Name of competent person undertaking the survey. | Free text - enter the name of the Surveyor. NOTE: if required, the department is able to request a list of existing names in BEMIR from QBuild or the BEMIR Support Unit.
Surveying Organisation | Not generated by BEMIR | Y | Business name of entity undertaking the survey. | Free text - enter the name of the surveying organisation. NOTE: if required, the department is able to request a list of existing names of organisations in BEMIR from QBuild or the BEMIR Support Unit.
Date of Survey | Survey Date | Y | Date survey is completed for the site. | Free text - enter the date (DD/MM/YYYY) that best represents the date of completion of the survey.
ACM REMOVED? | Not generated by BEMIR | N | Records if the item of previously identified ACM has since been removed. | Use a "Y" or "N" flag for Yes or No. Also record any useful details (if available) in the "Comments" field. Information is required in this field if ACM disposal is being undertaken.
ACM PHOTO | Not generated by BEMIR | N | Allows surveyor to specify an identifying number for the photo of the item of suspected ACM for easy reference. | Free text - enter the precise number of the photo if applicable). NOTE: where possible, any photos taken should incorporate reference features to assist in the identification of the sample location e.g. a photo of a room entrance and the sample extraction location.
SAMPLE IDENTIFICATION NUMBER | Not generated by BEMIR | N | A number or series of numbers that identifies a particular sample or group of samples taken to determine the presence of asbestos or not for a specific ACM record | Free text - (Hint) suggest enter sample Identification Number from Certificate of Analysis
DATE SAMPLE TAKEN | Not generated by BEMIR | N | The date the sample was taken | Free text - (Hint) take date from Certificate of Analysis
SPECIFIC DESCRIPTION OF SAMPLE LOCATION | Not generated by BEMIR | N | A description of the specific location where the sample was taken from the item of suspected ACM | Free text - describe the specific location where the sample as taken. Where possible use compass directions such as 'north wall' or southern end of roof'
TEST RESULT | Not generated by BEMIR | N | The analysis test result for the sample | Select from Pick List (Column AG_Test Result) tab
NAME OF LABORATORY | Not generated by BEMIR | N | The name of the laboratory undertaking the testing for the presence of asbestos | Free text - enter the name of the laboratory. NOTE: if required, the department is able to request a list of existing names in BEMIR from the QBuild BEMIR team.
ACM SAMPLE PHOTO REFERENCE | Not generated by BEMIR | N | A reference that enables any photographs taken of the sample or the sampled area to be linked back to the sample | Free text - enter an identifying reference links photographs of the sample or the sampled area back to the sample
CERTIFICATE NUMBER | Not generated by BEMIR | N | The specific number on the formal test certificate provided by the laboratory | Free text - (Hint) suggest enter the identifying number provided on the Certificate of Analysis
OTHER USEFUL INFORMATION ABOUT SAMPLE | Not generated by BEMIR | N | Any useful information that may assist in sample identification and/or the installed position/location of the suspected ACM parent material | Free text - enter any other special or useful information that may help locate the item of ACM and where the sample was taken.

## ACM RECORD DATA TEMPLATE
Department Name | Facility Name | Site Name | Improvement Name | Agency Asset Reference Number | QBuild Asset Reference Number | Internal or External (use picklist) | Location Type (use pick list) | Specific Location | Floor / Level (use pick list) | BEMIR ACMID Record Identifier | Description | Item (use pick list) | Form (use pick list) | Status (use pick list) | Physical State 5-Excellent, 1-Very Poor (use pick list) | Likelihood of ACM damage before next inspection (use pick list) | Estimated Quantity | BEMIR Score | ACM Identification Date | Attention Recommended? (use pick list) | Comments | Last Modified Entry Date | Surveying Organisation | Name of Surveyor | Date of Survey | ACM Removed? (use pick list) | ACM Photo Reference | Sample Identification Number | Specific Description of Sample Location | Date Sample Taken | Test Result (use pick list) | Name of Laboratory | ACM Sample Photo Reference | Certificate Number | Other Useful Information about sample
Department of Energy and Public Works | The Administration Centre | Brisbane Government Precinct | Central Building | 12345018 | 20355090 | Internal | CH - Corridor / Hallway | Corridor at the south end of the building | GF - Ground Floor | 15 | Ceiling Sheeting | CE- Ceiling | CB - Cement Based | Confirmed | 2 - Poor | VL (Very Low) - unlikely / rare | 12 m2 | 76 | dd/mm/yyyy | Yes | Some ceiling sheeting is badly deteriorated due to water damage, and could eventually dislodge and fall. | dd/mm/yyyy | Smith Audit & Inspection Services | John Smith | dd/mm/yyyy | No | #123 | 1 | The sheet panel with the light fixture in it | 2012-01-30 | CHR | Asbestos Laboratory XYZ | #1231 | N678 | Wall lining identified throughout external walls
Note on K1: This number is used to separately and uniquely identfy each individual ACM record. Each ACM record must have a different number. IMPORTANT This identifier is needed so that one or more ACM samples can be 'linked' to a particualr item of ACM. This is done by 'linking' one or more ACM Sample Records to the relevant ACM record using the ACM Record Identifier. Note: a sample that can't be linked to a particular ACM record must be considered invalid.
Note on L1: Provide brief details that clearly describe the particular item(s) of ACM
Note on O1: Based on result of sample(s) taken
Note on U1: If YES - then you must provide an explanation in the description/comments section.

## ACM REMOVAL RECORD TEMPLATE
ACMID Record Identifier (MANDATORY) | Removal Date (MANDATORY) | Quantity Removed (MANDATORY) | Completed Removed (MANDATORY) | Disposal Date (MANDATORY) | Disposal Receipt Number (MANDATORY) | Disposal Site (MANDATORY) | Contact for Removal (MANDATORY) | Comments
14839 | 2020-05-30 | 12m2 | Yes | 2020-05-31 | WTC12586 | Approved Waste Facility Name | Zac Aarons | Removed as part of Work Order 14325876

## Column J _Floor_Level Picklist
Asbestos Survey Master Pick Lists Column J - Floor /Level
COLUMN J
FLOOR / LEVEL
AA – Other (refer to description)
AB – Whole Building (No ACM Identified)
AC – Whole Building (Assumed to Contain Asbestos)
B1 – Basement 1
B2 – Basement 2
B3 – Basement 3
GF – Ground Floor
L01 – Level 1
LXX – Level XX
L30 – Level 30
LG1 – Lower Ground 1
LG2 – Lower Ground 2
M1 – Mezzanine 1
M2 – Mezzanine 2
M3 – Mezzanine 3
PS – Podium Stage
R1 – Roof Level 1
R2 – Roof Level 2
R3 – Roof Level 3
SG – Site / Grounds
VR – Vertical Rise (external)
VS – Vertical Shaft (internal)

## Column H_Location_Type Picklist
Asbestos Survey Master Pick Lists Column H - Location Type
COLUMN H
LOCATION TYPE
| AA – Other (refer to description) Internal | Internal
| AB – Ablutions Internal | Internal
| CH – Corridor/Hallway Internal | Internal
| CS – Ceiling Space Internal | Internal
| FO – Foyer Internal | Internal
| RM – Room Internal | Internal
| SR – Services Riser | Internal
| ST – Stairs Internal | Internal
| SW – Switchboard Internal | Internal
| XI – Internal - Other Internal | Internal
| AA – Other (refer to description) External | External
| AR – Access Ramp | External
| BF – Building Fabric External | External
| LF – Landfill External | External
| RF – Roof External | External
| SI – Site Improvement External | External
| SP – Service Pit External | External
| ST – Stairs External | External
| SW – Switchboard External | External
| VE – Verandah External | External
| XE – External - Other External | External

## Column M_Item Picklist
Asbestos Survey Master Pick Lists Column M - ITEM
COLUMN M
ITEM
ITEM | DESCRIPTION of ACM | EXAMPLES
AA – Other (refer to description) | an item that is not listed. | ^ brick or masonite
BL – Baffles / Lining | a form of barrier designed to limit or interrupt the flow of sound, fire or airflow OR an internal or external surface lining for a space or component. | ^ acoustic baffles or fire barriers in a ceiling space ^ sheeted lining (e.g. inside a service rise, ductwork)
CE – Ceiling | an internal constructed item (and any coating) covering the underside of a floor or roof and provides an overhead surface of an enclosed space, often in order to conceal structural members or electrical/mechanical services. | ^ suspended ceilings, tiles ^ fixed ceiling sheets, panels ^ solid or perforated sheets ^ acoustic sheet or tiles ^ vermiculite coatings
CP – Ceiling Access Panel | the panel in the ceiling that provides access for entry to and from the ceiling space or roof. | ^ hatches ^ removable inspection covers ^ manhole covers
DE – Asbestos-contaminated Dust or Debris | visible dust, particles, fragments, pieces or ‘chunks’ of material. | ^ broken pieces of sheeting in landfill ^ scrap or waste left in a ceiling space ^ suspect dust or powder in concealed location
DP – Drains / Pipes / Flues | part or whole systems used to convey liquids or other substances from one point to another, including ventilation flues. | ^ sewerage pipes, pits ^ vent stacks, exhaust vent pipes ^ chimney stacks ^ open drains ^ drainage pits ^ traps
FB – Floor Backing / Underlay | the ‘unattached’ underlay material sandwiched between the floor covering and the actual base floor structure (substrate) itself | ^ fibrous cement sheets ^ fibrous felt or woven textile underlay ^ millboard sheets
FD – Fire Door | an insulated door (or curtain) that is specifically designed, constructed and installed to resist fire for a measured timeframe. | ^ steel fire doors internally filled ^ fire-proof doors (in safe-rooms) ^ fire curtain
FE – Fencing | a constructed barrier to control entry/egress and includes posts, infill and gates. | ^ inter-woven strip-sheeted fences ^ corrugated and profiled sheeted fences ^ in-ground concrete base formwork
FF – Floor Finish / Covering | the finished floor surface layer or composite material that forms the 'uppermost' layer of a floor surfacing product or system (including any backing material that is fixed/glued/attached to form a multi-layered composite material, such as asbestos-backed vinyl sheet floor covering). | ^ vinyl sheet (including felt-backing material) ^ vinyl tiles ^ linoleum (including paper-backing material)
FL – Floor | the actual base floor structure (substrate) itself. | ^ structural compressed sheet flooring
FP – Friction Product | a material (usually compressed) that in normal usage, comes into contact with moving componentry for the purpose of stopping or slowing that movement. | ^ lift motor break shoes, pads
FU – Furniture | a component of fixed or loose furniture (usually compressed sheet) which typically acts as insulation to the furniture or as a working surface on the furniture. | ^ school hat & bag racks ^ benchtops ^ storage racks
GA – Gasket | a piece of deformable material installed to make a seal between two or more surfaces. | ^ rope seals ^ oven door seals ^ pipe gaskets ^ klingerite gasket material
GS – Gable / Soffit / Fascia | the exterior constructed item which forms the under-surface of a roof or encloses the ends of the roof space of a pitched roof; OR the vertically mounted face board (often holding up the guttering). | ^ end gables ^ external perforated and slotted sheets above a veranda ^ sheet fascia board
HB – Heater Bank Insulation | the internal insulation lining in air-conditioning or ventilation heater banks surrounding heater elements or internal of the housing for the heater element electrical connections. | ^ duct-mounted heater banks ^ heater elements mounted inside fan boxes or air handling units
IF – Insulation / Fill | material installed to provide thermal or acoustic insulation to any component, except piping (refer Pipe Insulation) OR a filling material with the aim of providing thermal or acoustic insulation, or fire separation. | ^ 'filling' within a cavity wall ^ fill to seal floor penetrations in a service riser
ME - Membrane | an extensive layer or coating installed over another material/product with the intent of protecting or sealing it. | ^ old bituminous roof waterproofing ^ lining in box guttering
PE - Plant, Equipment & Machinery | material used in any equipment including loose and fixed business equipment, as well as engineering services (such as electrical mechanical services). | ^ ovens ^ generators, steam boilers, cooling towers ^ asbestos mats, gloves, blankets etc
PI – Pipe Insulation | external insulation on piping, either installed as a manufactured product or manually applied, wrapped or sprayed. | ^ thermal insulation on steam pipes, hot-water pipes ^ thermal insulation on exhaust pipes
PM – Preformed Moulded Product | material that is moulded or cast during manufacture into a specific shape that is intended for specific use. | ^ drain trap surrounds ^ telecommunications pit ^ cable conduits ^ heritage roof ventilators ^ flower pots
RS – Roof Sheeting | the roof itself, or as a manufactured surface finish or another type of roofing material. | ^ corrugated roof sheeting ^ barge caps, ridge capping ^ asbestos tiles, shingles ^ 'galbestos'
SH – Sun Hood | an awning above a window or opening in a building/structure, primarily to shield the window/opening from the rays of the sun. | ^ flat or corrugated sheet
SM – Stored Material | any item(s) that is non-functional or not-in-use and has been stored presumably for later use. | ^ pipes, sheets etc stored and out of use
SN - Sign | material used to construct signage or is installed as a coating on the signage. | ^ sign painted on AC sheet ^ asbestos-based paint
SP – Stormwater Plumbing | manufactured rainwater plumbing fittings typically used above ground. (Note: for below ground refer DP - Drains / Flues / Pipes). | ^ guttering ^ rainwater heads ^ box gutters ^ downpipes
WS – Wall | interior /exterior cladding to the structure (including coatings) that separates rooms or other areas, or separates inside from outside a building or structure. | ^ internal wall sheeting ^ partition sheeting ^ bulkheads, cupboard walls ^ exterior cladding

## Column N_Form Picklist
Asbestos Survey Master Pick List Column N - FORM
COLUMN N
FORM
AA – Other (refer to description)
AD – Adhesive
CB – Cement Based
FF – Fibrous Felt
IB – Insulation Board
LA – Lagging
LD – Low Density Board
LF – Loose Fill
MF – Mastic/Filler
MI – Millboard
PB – Polymer Bound
SC – Sprayed Coating
VS – Vinyl Sheeting (incl. backing)
VT – Vinyl Tiles
WT – Woven Textile

## Column O_Status Picklist
Asbestos Survey Master Pick List Column O - Status
COLUMN O
STATUS
Assumed
Confirmed
Not Present (Not Tested)
Not Present (Tested)
Removed

## Column P_Physical StatePicklist
Asbestos Survey Master Pick List Column P - PHYSICAL STATE
Column P
PHYSICAL STATE
The ratings below provide an indication of the overall condition of an item of suspected ACM including any sealer, protective coating or encapsulation that it may have. A rating is based on a visual non-destructive inspection. In some situations, the ACM itself may not be visible.
Rating | Description | Examples
5 - Excellent | Intact and stable, good condition - well sealed - coating/sealer in good condition with no exposed ACM - no visible damage to ACM - ACM appears intact and stable | - painted walls, ceilings - sheathed pipework insulation
4 - Good | Intact and stable, only minor wear - sealed or unsealed - coating/sealer (if present) has some minimal surface damage or wear - but is still effective - very minimal damage to any visible ACM - ACM appears intact and stable | - unpainted walls, ceilings - vinyl flooring with minimal wear and in good condition - metal sheathing on steampipe insulation (showing signs of minor rust)
3 - Fair | Intact and stable, slight damage - sealed or unsealed - coating/sealer (if present) is showing signs of age - but is still effective - some deterioration/weathering to any visible ACM - ACM appears intact and stable | - weathered roofs - perforated ceilings/eaves - water-stained or scratched walls (flaking paint) - vinyl floors with minor worn areas or cracks.
2 - Poor | Reduced stability, degrading - sealed or unsealed - coating/sealer (if present) is deteriorating and is (or may become) ineffective - extensive damage/deterioration/wear to any visible ACM - ACM is (or may become) unstable | - severely weathered roof - rusted sheathing on steampipe, exposing ACM - deteriorated linings/gaskets in plant & equipment - vinyl floors with extensive wear
1 - Very Poor | Unstable, severely deteriorated or major damage - unsealed - ACM is badly damaged or severely deteriorated - ACM is unstable (crumbling or breaking down) | - exposed and crumbling insulation - exposed backing - broken pieces, debris, waste products, dust
NA Not applicable | - non ACM - physical state not required to be assigned | - masonite or plasterboard sheeting

## Column Q_Likelihood of ACM
Asbestos Survey Master Pick List Column Q - Likelihood of ACM Damage
COLUMN Q
LIKELIHOOD OF ACM damage
before next inspection
The ratings below provide a general guide on how likely it is for an item of suspected ACM to be badly damaged. In this context, the term 'damage' means the accidental or unintentional breakage, abrasion or cutting of the material. It excludes minor day-to-day contact with the ACM (eg. brushing past), as well as intentional damage or vandalism.
Note: the ratings assume that operating procedures such as work area access permits are being followed at the facility to safely manage the ACM (including the use of trained contractors).
Rating | Description | Typical Examples (consider the layout and usage of the specific building or location)
H (High) | Almost Certain eg. disturbance on a regular basis | ▪ hat and bag racks ▪ benchtops - Manual Arts/welding ▪ flooring/step treads ▪ manhole covers & removable inspection hatches ▪ lined heater banks mounted inside fan boxes, air handling units or ducts ▪ lift motor brake shoes, pads, clutch plates ▪ fire resistant mats, gloves, blankets, bunsen burner mats, etc ▪ storage racks
M (Medium) | Likely eg. intermittent disturbance | ▪ ceiling tiles in a grid system ▪ sprayed coatings (eg. vermiculite & rendered finishes) ▪ sheeted walls in high traffic areas (eg. hallways and stairwell) ▪ external walls adjacent to high activity areas (eg. playgrounds, sports areas) ▪ debris left in a ceiling space ▪ insulation on steam pipes, hot-water pipes, exhaust pipes ▪ oven door seals ▪ floor and wall penetrations sealing fill
L (Low) | Possible eg. infrequent disturbance | ▪ internal walls and ceilings in higher activity areas ▪ external walls not adjacent to high activity areas ▪ roof sheeting ▪ vent stacks, exhaust vent pipes, chimney stacks ▪ vinyl sheet and vinyl tile flooring ▪ acoustic baffles or fire barriers in a ceiling space ▪ fences – corrugated, profiled sheeted, interwoven style ▪ broken pieces of sheeting in landfill ▪ drain trap surrounds ▪ fire curtains ▪ sheeted lining (eg. inside a service riser, ductwork) ▪ fire doors - steel internally filled ▪ fire-proof doors (in safe-rooms) ▪ in-ground concrete base formwork ▪ open drains ▪ gaskets in plant and equipment ▪ sewerage pipes, pits ▪ electrical switchboard backing
VL (Very Low) | Unlikely eg. Rare disturbance | ▪ walls or ceilings in storerooms or in general office environments ▪ soffits and gable ends ▪ fascia board ▪ sheet underlay ▪ compressed sheet structural flooring ▪ debris in concealed locations (eg. wall cavities) ▪ baffles in fume cupboards ▪ box guttering linings ▪ drainage pits/traps ▪ telecommunication pits ▪ underground cable conduits

## Column S_ Units Picklist
Asbestos Survey Master Pick List Column S - Unit of Measure
COLUMN S
UNITS OF MEASURE
Items
M2
mtrs

## Column AF_Test Result
Asbestos Survey Master Pick List Column AF - Test Result
COLUMN AF
Test Result
AMO - Amosite
AMO CRO - Amosite Crocidolite
CHR - Chrysotile
CHR AMO - Chrysotile Amosite
CHR AMO CRO - Chrysotile Amosite Crocidolite
CHR CRO - Chrysotile Crocidolite
CRO - Crocidolite
NAD - No asbestos detected
Tremolite asbestos

## Blank ACM RECORD - FORM
ASBESTOS SURVEY - "ACM RECORD" DATA COLLECTION FORM
Department Name: | [7 empty] | Asset Reference Number:
Facility Name: | [7 empty] | Name of Surveyor:
Site Name: | [7 empty] | Organisation:
Improvement Name: | [7 empty] | Date of Survey:
INT or EXT | FLOOR / LEVEL (refer List) | SPECIFIC LOCATION (eg. Room A5, or Rooms A1-A5) | LOCATION TYPE (refer List) | ACM IDENTIFICATION DATE | DESCRIPTION of the ACM | ITEM of ACM (refer List) | FORM of ACM (refer List) | PHYSICAL STATE of ACM (refer List) | STATUS of ACM (refer List) | LIKELIHOOD of DAMAGE (refer List) | IS ATTENTION RECOMMENDED? (tick if yes, and provide reason in COMMENTS section) | Sample previously taken? (Y/N) | ACM Record Identifier (eg. 33910) | REMOVED?
Comments:
[11 empty] | Photo Ref: |  | Quantity eg. 30m2
Comments:
[11 empty] | Photo Ref: |  | Quantity eg. 30m2
Comments:
[11 empty] | Photo Ref: |  | Quantity eg. 30m2
form ver 6 DPW 24.08.2009

## Blank ACM SAMPLE - FORM
ASBESTOS SURVEY - "ACM SAMPLE" DATA COLLECTION FORM
Department Name: |  |  |  | Asset Reference Number:
Facility Name: |  |  |  | Name of Surveyor:
Site Name: |  |  |  | Organisation:
Improvement Name: |  |  |  | Date of Survey:
ACM RECORD IDENTIFIER (refer ACM Record Data Collection form) | SAMPLE IDENTIFICATION NUMBER | DATE SAMPLE TAKEN | SPECIFIC DESCRIPTION of the SAMPLE LOCATION (eg. north wall of room near window) | ACM PHOTO SAMPLE Ref. | OTHER USEFUL INFORMATION ABOUT SAMPLE (if no information then leave blank) | TEST RESULT (refer List) | CERTIFICATE NUMBER | NAME OF LABORATORY
form ver 6 DPW 24.08.2009

## Blank ACM DISPOSAL RECORD- FORM
ASBESTOS SURVEY - "ACM DISPOSAL RECORD" DATA COLLECTION FORM
Department Name: |  |  |  | Asset Reference Number:
Facility Name: |  |  |  | Name of Surveyor:
Site Name: |  |  |  | Organisation:
Improvement Name: |  |  |  | Date of Survey:
ACM RECORD IDENTIFIER (refer ACM Record Data Collection form) | REMOVAL DATE | QUANTITY DISPOSED | COMPLETELY DISPOSED | DISPOSAL DATE | DISPOSAL RECEIPT NUMBER | DISPOSAL SITE | CONTACT | DISPOSAL COMMENTS
form ver 1 DHPW 08.04.2013

## Master Pick Lists (hidden)
Floor Level | ACM Form | ACM Item | Location Type | ACM Status | Sample Test Result | Improvement Type | Physical State | Int Ext | Likelihood Damage | Attention Recommended | Previous Sample | Removed | Units | Category | Data
AA - Other (refer to description) | AA - Other (refer to description) | AA - Other (refer to description) | AA - Other (refer to description) Internal | Confirmed | No asbestos detected (NAD) | AA - Other (refer description) | 5 - Excellent | Internal | H (High) - almost certain | Yes | Yes | Yes | m2 | No Change | Validation
AB - Whole Building (No ACM Identified) | AD - Adhesive | BL - Baffling/Lining | AA - Other (refer to description) External | Assumed | CHR - Chrysotile | BU - Building | 4 - Good | External | M (Medium) - likely | No | No | No | metres | Edit | Allow (List)
AC - Whole Building (Assumed to Contain Asbestos) | CB - Cement Based | CE - Ceiling | AB - Ablutions Internal | Not present (tested) | AMO - Amosite | CW - Covered Way | 3 - Fair |  | L (Low) - possible |  |  |  | items | Insert | Source (range of list or "=" and Name Defined e.g. =ACMList)
R2 - Roof Level 2 | FF - Fibrous Felt | CP - Ceiling Access Panel | AR - Access Ramp | Not present (not tested) | CRO - Crocidolite | EN - Enclosure (Unroofed) | 2 - Poor |  | VL (Very Low) - unlikely /rare
R1 - Roof Level 1 | IB - Insulation Board | DE - Asbestos-contaminated Dust and Debris | BF - Building Fabric External | Removed | CHR AMO - Chrysotile Amosite | GG - General Grounds | 1- Very Poor | [7 empty] | To Define Name
SG - Site/Grounds | LA - Lagging | DP - Drains/Pipes/Flues | CH - Corridor/Hallway Internal |  | CHR CRO - Chrysotile Crocidolite | GR - Greenhouse | NA - Not Applicable | [7 empty] | Highlight Range
GF - Ground Floor | LD - Low Density Board | FB - Floor Base Underlay | CS - Ceiling Space Internal |  | AMO CRO - Amosite Crocidolite | MD - Modular/Demountable
L1 - Lower Ground 1 | LF - Loose Fill | FD - Fire Door | FO - Foyer Internal |  | CHR AMO CRO - Chrysotile Amosite Crocidolite | PG - Playground
L2 - Lower Ground 2 | MF - Mastic/Filler | FE - Fencing | LF - Landfill External |  | Tremolite asbestos | SE - Seating/Stands | [8 empty] | Click in Name box
B1 - Basement 1 | MI - Millboard | FF - Floor Finish/Covering | RF - Roof External |  |  | SH - Shed | [8 empty] | Name it "AAA"
B2 - Basement 2 | PB - Polymer Bound | FL - Floor Layer/s | RM - Room Internal |  |  | SS - Sun Shade/Shelter | [8 empty] | "Enter"
B3 - Basement 3 | SC - Sprayed Coating | FP - Friction Product | SI - Site Improvement External |  |  | SP - Swimming Pool
M1- Mezzanine 1 | VS - Vinyl Sheeting (incl backing) | FU - Furniture | SP - Service Pit External
M2- Mezzanine 2 | VT - Vinyl Tiles | GA - Gasket | SR - Service Riser
M3- Mezzanine 3 | WT - Woven Textile | GS - Gable/Soffit/Fascia | ST - Stairs Internal
PS - Podium / Stage |  | HB - Heater Bank Insulation | ST - Stairs ExternaI
VR - Vertical Rise (external) |  | IF - Insulation/Fill | SW - Switchboard Internal
VS - Vertical Shaft (internal) |  | ME - Membranes | SW - Switchboard External
01 - Level 1 |  | PE - Plant, Equipment & Machinery | VE - Verandah External
02 - Level 2 |  | PI - Pipe Insulation | XI - Internal - Other Internal
03 - Level 3 |  | PM - Preformed Moulded Product | XE - External - Other External
04 - Level 4 |  | RS - Roof Sheeting
05 - Level 5 |  | SH - Sun Hood
06 - Level 6 |  | SM - Stored Material
07 - Level 7 |  | SN - Signs
08 - Level 8 |  | SP - Stormwater Plumbing
09 - Level 9 |  | WS - Wall
10 - Level 10
11 - Level 11
12 - Level 12
13 - Level 13
14 - Level 14
15 - Level 15
16 - Level 16
17 - Level 17
18 - Level 18
19 - Level 19
20 - Level 20
21 - Level 21
22 - Level 22
23 - Level 23
24 - Level 24
25 - Level 25
26 - Level 26
27 - Level 27
28 - Level 28
29 - Level 29
30 - Level 30